## Slide 1: Experimental activities at ChAMBRe
V. Vernocchi1
M. Brunoldi1, 2, E. Gatta2, M. Irfan2, T. Isolabella1, 2, D. Massabò1, 2, F. Mazzei1, 2, F. Parodi1, P. Prati1, 2
1Istituto Nazionale di Fisica Nucleare, Sezione di Genova
2Università degli Studi di Genova, Dipartimento di Fisica

## Slide 2: ChAMBRe: Chamber for Aerosol Modelling and Bio-aerosol Research
ChAMBRe ASC is installed at the National Institute of Nuclear Physics in Genoa in collaboration with the Environmental Physics Laboratory at the Physics Department of Genoa University. The facility is part of the ERIC-ACTRIS.
Massabò et al., (2018).
Atmos. Meas. Tech., 11, 5885-5900
Volume ≈ 2.3 m3
Stainless steel
Facility with high versatility!
ASC
Study of atmospheric processes under realistic but controlled conditions
Conditions could be and monitored in real time

## Slide 3: Bioaerosol studies
2 h exposure
Impact of air quality on bacteria viability: effects of different atmospheric conditions and/or anthropogenic pollutants (standard-model bacteria)
Vernocchi et al., (2023).
Atmos. Meas. Tech., 16, 5479-5493
NO
NO2
28th ITINERIS WP4 meeting | Typing Pilots – 12/06/2025
Bacteria total concentration (time)
Bacteria viable concentration (time)
Gatta et al., (2025).
Sci. Rep., 15, 10320

## Slide 4: Carbonaceous aerosols
Comparison of different aerosols
  Combustion of different fuels
  Aging processes
Focus on optical properties
  Test of new instruments (online / offline)
  Comparison of different optical techniques (online / offline)
  Test of models for optical apportionment
AIR
FUEL
Vernocchi et al., (2022). Atmos. Meas. Tech., 15, 2159-2175
Isolabella et al., (2025). Atm. Env., 121341
Danelli et al., (2025). Atmos. Chem. Phys., 25, 9387
Production of “aerosol standards”
Isolabella et al., (2024). Atmos. Meas. Tech., 17, 1363-1373
AIR
C3H8
O3

## Slide 5: Standard samples for OP and Toxicological assays
Cytotoxicity
Genotoxicity
Oxidative stress
OP
WINTER, BB emissions
SUMMER, TRAFFIC emissions
RHAPS Collaboration
AIR
C2H4
Cells inflammatory response
Cells Oxidative stress
IT-BEST Collaboration
Particles characterization by ChAMBRe instruments
ULTRAFINE particles
Aging processes
Compare fossil fuels and biofuels blends emissions
AIR
C3H8
Vernocchi et al., (2025).
Toxicol. Appl. Pharmacol, 505, 117573
O3

## Slide 6: Plants interactions with airborne pollutants
SALPIAM Collaboration
NO2
Bosio et al., (2025).
Atm. Env. X, 27, 100355
N. oleander
M. communis
T. baccata
NO2 consumption
Capacity to capture airborne PM

## Slide 7: ITINERIS-access to ChAMBRe
MICRObial adaptations and Antimicrobial Resistance Genes in the ocean-atmOsphere continuum - MICROARGO
Bioaerosols’ Evaluation And Machine-learning – BEAM
Toxicological hazard assessment of combustion emission under different aging processes by direct exposure of lung in vitro models at the air liquid interface - Tox-CEAPs
Characterization of Aerosols Emitted by the Burning of Textile Waste in Atacama and their Relevance to Air Quality - ATEXAQ
Single scattering albedo and asymmetry PARameter retrieval by photometric Analysis of atmospheric aerosol deposited on filters - SPARA
Degradation of Benzothiazoles: From Urban to Polar Atmosphere Conditions - UPAC-BTH
Calibration at varying relative humidity of the ACSM – CINEMA
Multidisciplinary!

## Slide 8
vvernocchi@ge.infn.it

## Slide 9: Bioaerosol studies
Vernocchi et al., (2023). Atmos. Meas. Tech., 16, 5479-5493
ITINERIS 3rd general meeting – Rome, 25-26/092025
Gatta et al., (2025). Sci. Rep., 15, 10320
Bacteria | Baseline | NO 900 ppb | NO 1200 ppb | NO2 900 ppb | NO2 1200 ppb | Baseline dark | Light
E. coli | 31 ± 3 | 32 ± 1 | 21 ± 2 | 21.8 ± 0.5 | 10 ± 2 | 31 ± 3 | 6.0 ± 0.5
B. subtilis | 36 ± 4 | 37 ± 6 | 29 ± 4 | 14 ± 3 | 17 ± 2 | 36 ± 4 | 9 ± 2
P. fluorescens | 19 ± 1 | 14 ± 3 | 14 ± 2 | 6 ± 1 | 6 ± 1 | 19 ± 1 | 1.6 ± 0.1
Lifetime [min]

## Slide 10: Test of new instrument
Isolabella et al., (2023)
Il Nuovo Cimento C, 46
Broadband
Light
Analyzer of
Complex
Aerosol
ITINERIS 3rd general meeting – Rome, 25-26/092025
Measure aerosol light absorption: from 375 to 1000 nm, with a 5 nm resolution
Automatic laboratory instrument for offline measurement of aerosol collected on suitable media
Isolabella et al., (2025).
Atm. Env., 121341
Comparison with validated instruments:
  MWAA (λ = 375, 407, 532, 635, 850 nm)
  PAXs (λ = 405, 532, 870 nm)

## Slide 11: Carbonaceous aerosols produced by the combustion of different fuels
Carbonaceous composition
Mass Absorption Coefficient
ITINERIS 3rd general meeting – Rome, 25-26/092025
𝑏𝑎𝑏𝑠 = 𝑀𝐴𝐶 × [𝐸𝐶]
babs (Mm⁻¹)
EC (µg m⁻³)
MAC (m² g⁻¹)
Instrument | Wavelength | Propane - MISG | Diesel - Hyundai | HVO - Hyundai
MWAA | 635 nm | 6.1 ± 0.2 | 9.4 ± 0.3 | 8.0 ± 0.3
Giano_BC1 | 635 nm | 8 ± 1 | 9.4 ± 0.4 | 8.4 ± 0.6
MWAA | 850 nm | 5.2 ± 0.5 | 6.8 ± 0.2 | 6.0 ± 0.3
PAX | 870 nm | 5.5 ± 0.1 | 6.2 ± 0.5 | 5.8 ± 0.2
 | Propane - MISG | Diesel - Hyundai | HVO - Hyundai
EC:TC | 0.7 ± 0.1 | 0.15 ± 0.05 | 0.4 ± 0.2
Danelli et al., (2025).
Atmos. Chem. Phys., 25, 9387
Absorption coefficients - online (7 λ)
Diesel | Diesel + Solar | Diesel + O3
1.10 | 1.15 | 1.18
HVO | HVO + Solar | HVO + O3
1.02 | 0.91 | 1.06
Chart: λ (nm)
| 370 | 470 | 520 | 590 | 660 | 880 | 950
Diesel | 1 | 0.80847 | 0.71074 | 0.61038 | 0.53321 | 0.39179 | 0.36319
Diesel + Solar | 1 | 0.81528 | 0.71458 | 0.60961 | 0.52794 | 0.37821 | 0.34829
Diesel + O3 | 1 | 0.76267 | 0.66613 | 0.57022 | 0.49523 | 0.35939 | 0.33132
Chart: λ (nm)
| 370 | 470 | 520 | 590 | 660 | 880 | 950
HVO | 1 | 0.83589 | 0.74106 | 0.64077 | 0.56282 | 0.42158 | 0.39327
HVO + Solar | 1 | 0.86805 | 0.78336 | 0.68853 | 0.61241 | 0.46825 | 0.43795
HVO + O3 | 1 | 0.84418 | 0.74908 | 0.64562 | 0.56292 | 0.41385 | 0.38379

## Slide 12: Standard samples for OP and Toxicological assays
Analysis
In progress
ITINERIS 3rd general meeting – Rome, 25-26/092025
Particle sources | Aging processes |  | 
Ethylene | No aging | Solar radiation | O3
Ethylene + 20% Ethanol |  |  | 
RHAPS Collaboration
IT-BEST Collaboration
BC, dark condition
BC + NO2 + O3, Dark
BC + NO2 + O3 + ammonium nitrate, Dark
BC + NO2 + O3 + 2,5-dimethylfuran, Dark
BC + NO2 + O3 + ammonium nitrate + 2,5-dimethylfuran, Dark
WINTER – BB emissions
SUMMER – TRAFFIC emissions
BC + solar radiation (light condition)
BC + HONO, Light
BC + HONO + ammonium sulphate, Light
BC + HONO + toluene, Light
Results
Traffic component, particularly under light conditions and in the presence of HONO and toluene, exhibited high OP and induced significant biological responses.
Ammonium sulfate appeared to modulate effects, sometimes reducing the OP and most of the assessed toxicological parameters.
Vernocchi et al., (2025).
Toxicol. Appl. Pharmacol, 505, 117573

## Slide 13: Plants interactions with airborne pollutants
NO2 consumption during light time: influence of photosynthesis
ITINERIS 3rd general meeting – Rome, 25-26/092025
Chart: Capture efficiency (%)
| N. oleander | M. communis | T. baccata
BC | 630 | 100 | 380
DUST | 100 | 7500 | 2000
BC+DUST | 3800 | 100 | 930
% of capture efficiency relative to the lowest value for each pollutant
Species-specific differences in the capacity to capture airborne particulate matter
Bosio et al., (2025).
Atm. Env. X, 27, 100355