## Slide 1: Spectral features of very high-energy electron beams
S. G. Vlachos
The ILIL team: F. Avella, F. Baffigi, G. Bandini, G. Benincasa, F. Brandi, G. Cristoforetti, M. Ezzat, A. Fregosi, L. Fulgentini, D. Gregocki, E. Hume, P. Koester, L. Labate, D. Palla, M. C. V. Panaino, S. Piccinini, M. Salvadori & L. A. Gizzi.
Milestones 1.1 & 1.6

## Slide 2: Progress & challenges
Multi-GeV peak energy - record at .1
Divergence and energy spread .2
Charge above reached in a single shot.3
Shot-to-shot stability Electron beam pointing Energy miscalculations.
Horizintal mean deviation: , Vertical mean deviation: .
Pixel value
A. J. Gonsalves et al., Phys. Rev. Lett. 122, 084801 (2019).
W. T. Wang et al., Phys. Rev. Lett. 117, 124801 (2016).
J. Götzfried et al., Phys. Rev. X. 10, 041015 (2020).

## Slide 3: Spectrometer setup
,
: magnetic field strength, : electron charge & mass, : speed of light,
: electron energy
H. J. Cha et al., Rev. Sci. Instrum. 83, 063301 (2012).

## Slide 4: Rear Lanex analysis
(mm)
(mm)
(mm)
O. Chubar, P. Elleaume, J. Chavanne, J. Synchrotron Radiat. 5, 481–484 (1998)
constants

## Slide 5: Front Lanex analysis

## Slide 6: Lanex scattering – Fluka
Fluence measured at the exit of the Lanex and at the entrance of the collimator.
Monoenergetic pencil-like electron beams from .
Statistical errors except in the case of at .
Al
Mylar
Lanex
Fluence
detector
Name | Material | Density () | Thickness ()
Lanex Regular (93% Phosphor) |  | 7.35 | 380
Lanex Regular (7% Binder) |  | 5.75 | 
Mylar window |  | 1.40 | 75
Aluminum foil | Al | 2.69 | 13
Name | Material |  | 
Lanex Regular (93% Phosphor) |  | 7.35 | 380
Lanex Regular (7% Binder) |  | 5.75 | 
Mylar window |  | 1.40 | 75
Aluminum foil | Al | 2.69 | 13
Material characteristics

## Slide 7
2D electron fluence
Lanex exit
Collimator entrance

## Slide 8
Scattering correction
Before
After

## Slide 9
Conclusions
Pointing instability needs to be considered when measuring energy.
Scattering caused by the Lanex and the mylar window significantly changes the arriving charge.
Other spectrometers may remove front Lanex but are either slow, large or require energies.
Our method:
- Compact, non-invasive, on-shot measurements of energy.
- Assumes electron trajectories are parallel.
Calibrating the rear Lanex for charge measurements becomes challenging. An Integrating Current Transformer (ICT) is recommended.

## Slide 10
Acknowledgements
This work was supported by the PNRR MUR project IR0000016-I-PHOQS, funded by the European Union – Next Generation EU.
This work was supported by the PNRR MUR project ECS00000017-"Tuscany Health Ecosystem & the LPA – STAR project, funded by the European Union – Next Generation EU
Advanced Photon Sources
Infrastructure Development
EuPRAXIA Advanced Photon Sources – EuAps (IR0000030, CUP I93C21000160006).
&
Laser Development
This work was supported by the EU Horizon IFAST, under Grant Agreement No.101004730
Experimental investigation on biomedicine