## Slide 1
CNR IRET Conference
Rome, February 18th-19th 2025
TECHNOLOGIES FOR ECOSYSTEM RESEARCH: FO₃X – FREE – AIR O₃ EXPOSURE
Lazzara L.¹*, Marra E.¹, Hoshika Y.¹, Moura B.B.¹, Manzini J.¹, Garosi C.¹, Viviano A.¹, Materassi A.², Fasano G.², Paoletti E.¹
FO3X is an advanced FACE system designed to study the effects of ozone pollution on vegetation under ambient conditions. It is crucial for the study of plant O₃ uptake.
FACILITY SPECIFICATIONS
DIFFUSIVE SAMPLERS
9 plots 5x5x2 m (L x W x H)
Split-plot experiment design: Each O₃ treatment is replicated three times.
Teflon-made vertical pipes network.
Climatic variables: meteorological station (3 m height) with multisensory instruments.
The sensors are used for long-term measurements of O3 concentration within the plots
Up: 1.5 m
Botton: 0.5 m
HEAT FACE
Temperature Free Air Controlled Enhancement technology to assess the combined effects of (O3 + high Temperature)
¹Research Institute on Terrestrial Ecosystems, National Research Council, Sesto Fiorentino, Italy
²Bioeconomy Research Institute, National Research Council, Sesto Fiorentino, Italy
* Corresponding author
Up: 1.5 m
Botton: 0.5 m
FACE FACILITY
O3 dispersion was below 20%.